| Title | Description |
| --- | --- |
| Project /Site Name | 2000MW Arrass-2, Renewable Power Project |
| RCA Classification | High |
| RCA Summary | Incident Happened on 14 NOV 2025 Analysis: On 14 NOV at 15:23:36, it’s observed that Reactive power Oscillation. |
| Event Date | 14.11.2025 |
| RCA Start Date | 14.11.2025 |
| RCA Target Date | 19-11-2025 |
| Root Causes | Initial Incident Report Form is attached |
| RCA Recommendations | Initial Incident Report Form is attached |
| RCA Team Leader | OEM in association with PC Team |